## Instructions
Welcome to Megazyme
To further support you, our valued customer, we have provided the Megazyme Mega-CalcTM to assist you in calculating the Protein Digestibility Corrected Amino-Acid Score from raw data.
Step 1: Fill out Spreadsheet Details
DATE:
ANALYST: | [6 empty] | "α-Amino Acids Assay" tab required to populate these columns |  |  |  | "AA Comp Correction + Data Fit" tabs required to populate these columns
Number | Sample ID | Description | Sample Weight (g) | Sample Volume (ml) | Dilution Factor | TCA Dilution Factor | Glycine Equivalents (mM) | TCA Dilution Correction GE (mM) | GE (mM) Sample Dilution Correction | GE (mM) Sample Weight Correction | AA (as is) Corrected Ninhydrin Result | Regression Fit Result | In-Vitro Digestibility
1 | Blank | Blank | 0.5 | 22.2 | 10 | 1.25
2 | Control A | Control A | 0.5018 | 22.2 | 10 | 1.25
3 | Control B | Control B | 0.4973 | 22.2 | 10 | 1.25
Step 2: Fill out α-Amino Acids Assay Table
Number | Sample ID | Average Abs 570nm | Glycine Equivalents (mM) |  | Standard | Glycine (mM) | Average Abs 570nm
1 | Blank | 0.4 | 0.19939 |  | Std 1 | 1 | 2
2 | Control A | 0.5 | 0.24949 |  | Std 2 | 0.75 | 1.5
3 | Control B | 0.75 | 0.37472 |  | Std 3 | 0.5 | 1
4 | Control C | 0.6 | 0.29958 |  | Std 4 | 0.25 | 0.5
5 | Control D | 0.65 | 0.32463 |  | Std 5 | 0.1 | 0.2
6 | Control E | 0.78 | 0.38975 |  | Std 6 | 0.075 | 0.15
7 | Control F | 0.49 | 0.24448 |  | Std 7 | 0.05 | 0.1
8 | Casein | 0.7 | 0.34968 |  | Std 8 | 0.025 | 0.05
9 | Pea | 0.6 | 0.29958 |  | Std 9 | 0.01 | 0.02
10 | Sample A | 0.35 | 0.17434 |  | Std 10 | 0.0075 | 0.03
11 |  |  |  |  | Std 11 | 0.005 | 0.01
12 |  |  |  |  | Std 12 | 0 | 0
Step 3: Fill out AA Profile Analysis Table
|  | Number | 2 | 3
|  | Sample ID | Sample A | Sample B
|  | Description | Bread
|  | Amino Acid | % | %
|  | L-Cysteine | 0.319 | 0.171
|  | L-Methionine | 0.17 | 0.149
|  | L-Tryptophan | 0.2 | 0.19
|  | L-HydroxyProline | 0 | 0
|  | L-Aspartic acid | 0.83 | 2.059
|  | L-Threonine | 0.338 | 0.651
|  | L-Serine | 0.44 | 0.809
|  | L-Glutamic Acid | 2.208 | 2.907
|  | L-Proline | 0.523 | 0.672
|  | L-Glycine | 0.464 | 0.64
|  | L-Alanine | 0.451 | 0.693
|  | L-Valine | 0.57 | 0.86
|  | L-Isoleucine | 0.413 | 0.793
|  | L-Leucine | 0.778 | 1.323
|  | L-Tyrosine | 0.422 | 0.611
|  | L-Phenylalanine | 0.558 | 0.952
|  | L-Lysine | 0.43 | 1.284
|  | L-Histidine | 0.244 | 0.447
|  | L-Arginine | 0.751 | 1.479
|  | Total Protein = | 10.109 | 16.69
Step 4: Data Fit
|  | Matrix | AA (as is) Corrected Ninhydrin Result | Regression Fit Result | Literature Value
|  | Control A | 9.9625 | 83.3928 | 83
|  | Control B | 10.6549 | 84.2204 | 86
|  | Control C | 17.3779 | 92.2567 | 91
Step 5: Fill out Report Sheet
Contact Us
Further Support
To obtain further information about the specific test, or indeed any of the Megazyme products, please consult our web site. | [6 empty] | www.megazyme.com
If you have specific questions, please contact us directly:
Technical Support: | [6 empty] | Megazyme Knowledge Base
Customer Support and Sales Information: | [6 empty] | Customer Support
General Information: | [6 empty] | info@megazyme.com
K-PDCAAS 09/19
Use Spreadsheet
Sample ID, Description and Sample weight.
Insert the a Sample ID, Description and sample weight used in the α-Amino Acids Assay.
Sample and Glycine Standard Sample and blank absorbance values
Insert the a Sample and Glycine standard absorbance values
Use α-Amino Acids Assay Calc
Amino acid pecentage composition
Insert percentage compostion values of each amino acid for each sample obtained from amino acid profile analysis of each sample.
Use AA Profile Analysis Calc
Moisture and protein content
Insert percentage content of moisture and protein of the sample.
PDCAAS
When all requried data have been inserted into the relevant worksheets PDCAAS is automatically calculated.
Back to Top of Page
Contact Us
Use Data Fit
Literature Value
Insert literature value of the cotrol samples if different from the default values.

## Spreadsheet
DATE:
ANALYST: |  |  | We use tubes marked with "permanent" numbers for identifying purposes, so this column may not be applicable for every lab setup |  |  |  |  | "α-Amino Acids Assay" tab required to populate these columns |  |  |  | "AA Profile Analysis + Data Fit" tabs required to populate these columns
Number | Sample ID | Description | Tube # | Sample Weight (g) | Sample Volume (ml) | Dilution Factor | TCA Dilution Factor | Glycine Equivalents (mM) | TCA Dilution Correction GE (mM) | GE (mM) Sample Dilution Correction | GE (mM) Sample Weight Correction | AA (as is) Corrected Ninhydrin Result | Regression Fit Result | In-Vitro Digestibility
1 | Blank | Blank | 1 |  | 22.2 | 10 | 1.25
2 | Control A | Control A | Q30 |  | 22.2 | 10 | 1.25
3 | Control B | Control B | Z62 |  | 22.2 | 10 | 1.25
4 | Control C | Control C | L6 |  | 22.2 | 10 | 1.25
5 | Control D | Control D | Q60 |  | 22.2 | 10 | 1.25
6 | Control E | Control E | Z97 |  | 22.2 | 10 | 1.25
7 | Control F | Control F | Z97 |  | 22.2 | 10 | 1.25
8 | Casein | Casein | Q77 |  | 22.2 | 20 | 1.25
9 |  |  | Z32 |  | 22.2 |  | 1.25
10 |  |  |  |  | 22.2 |  | 1.25
11 |  |  |  |  | 22.2 |  | 1.25
12 |  |  |  |  | 22.2 |  | 1.25
13 |  |  |  |  | 22.2 |  | 1.25
14 |  |  |  |  | 22.2 |  | 1.25
15 |  |  |  |  | 22.2 |  | 1.25
16 |  |  |  |  | 22.2 |  | 1.25
17 |  |  |  |  | 22.2 |  | 1.25
18 |  |  |  |  | 22.2 |  | 1.25
19 |  |  |  |  | 22.2 |  | 1.25
20 |  |  |  |  | 22.2 |  | 1.25
21 |  |  |  |  | 22.2 |  | 1.25
22 |  |  |  |  | 22.2 |  | 1.25
23 |  |  |  |  | 22.2 |  | 1.25
24 |  |  |  |  | 22.2 |  | 1.25
Instructions
Contact Us

## α-Amino Acids Assay
DATE:
ANALYST:
Number | Sample ID | Average Abs 570nm | Glycine Equivalents (mM) | Standard | Glycine (mM) | Average Abs 570nm
1 | Blank |  |  | Std 1 | 1
2 | Control A |  |  | Std 2 | 0.75
3 | Control B |  |  | Std 3 | 0.5
4 | Control C |  |  | Std 4 | 0.25
5 | Control D |  |  | Std 5 | 0.1
6 | Control E |  |  | Std 6 | 0.075
7 | Control F |  |  | Std 7 | 0.05
8 | Casein |  |  | Std 8 | 0.025
9 |  |  |  | Std 9 | 0.01
10 |  |  |  | Std 10 | 0.0075
11 |  |  |  | Std 11 | 0.005
12 |  |  |  | Std 12 | 0
13
14 |  |  |  | Slope = |  | Interc. = | R2=
15
16
17
18
19
20
21
22
23
24
Instructions
Contact Us

## AA Profile Analysis
Correction of Ninhydrin Result for Content of Proline, Lysine, Histidine and Arginine
Amino Acid Results are the Average of Two Measurements on a Fresh-Weight-Basis
| Number | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| Sample ID | 2: Control A; 3: Control B; 4: Control C; 5: Control D; 6: Control E; 7: Control F; 8: Casein
| Description | 2: Control A; 3: Control B; 4: Control C; 5: Control D; 6: Control E; 7: Control F; 8: Casein
Amino Acid | bar: 2 to 24
L-Cysteine |  | 2: 0.319; 3: 0.171; 4: 0.209; 5: 0.255; 6: 0.198; 7: 0.181; 8: 0.27
L-Methionine |  | 2: 0.17; 3: 0.149; 4: 0.141; 5: 0.162; 6: 0.253; 7: 0.196; 8: 2.28
L-Tryptophan |  | 2: 0.2; 3: 0.19; 4: 0.19; 5: 0.22; 6: 0.27; 7: 0.26; 8: 1.17
L-HydroxyProline |  | 2: 0; 3: 0; 4: 0; 5: 0; 6: 0; 7: 0; 8: 0
L-Aspartic acid |  | 2: 0.83; 3: 2.059; 4: 0.452; 5: 2.085; 6: 2.018; 7: 2.08; 8: 5.2372
L-Threonine |  | 2: 0.338; 3: 0.651; 4: 0.258; 5: 0.654; 6: 0.676; 7: 0.693; 8: 2.9749
L-Serine |  | 2: 0.44; 3: 0.809; 4: 0.388; 5: 0.743; 6: 0.81; 7: 0.858; 8: 3.003
L-Glutamic Acid |  | 2: 2.208; 3: 2.907; 4: 2.581; 5: 3.123; 6: 3.061; 7: 2.766; 8: 16.141
L-Proline |  | 2: 0.523; 3: 0.672; 4: 0.81; 5: 0.71; 6: 0.709; 7: 0.601; 8: 7.607
L-Glycine |  | 2: 0.464; 3: 0.64; 4: 0.327; 5: 0.701; 6: 0.621; 7: 0.604; 8: 1.2042
L-Alanine |  | 2: 0.451; 3: 0.693; 4: 0.293; 5: 0.715; 6: 0.69; 7: 0.66; 8: 2.0094
L-Valine |  | 2: 0.57; 3: 0.86; 4: 0.384; 5: 0.872; 6: 0.871; 7: 0.925; 8: 4.7926
L-Isoleucine |  | 2: 0.413; 3: 0.793; 4: 0.304; 5: 0.814; 6: 0.753; 7: 0.807; 8: 4.0056
L-Leucine |  | 2: 0.778; 3: 1.323; 4: 0.587; 5: 1.319; 6: 1.34; 7: 1.348; 8: 7.004
L-Tyrosine |  | 2: 0.422; 3: 0.611; 4: 0.292; 5: 0.676; 6: 0.638; 7: 0.621; 8: 4.5014
L-Phenylalanine |  | 2: 0.558; 3: 0.952; 4: 0.418; 5: 0.935; 6: 1.033; 7: 1.035; 8: 3.9965
L-Lysine |  | 2: 0.43; 3: 1.284; 4: 0.264; 5: 1.38; 6: 1.227; 7: 1.208; 8: 6.336
L-Histidine |  | 2: 0.244; 3: 0.447; 4: 0.213; 5: 0.463; 6: 0.574; 7: 0.526; 8: 2.1356
L-Arginine |  | 2: 0.751; 3: 1.479; 4: 0.478; 5: 1.646; 6: 1.274; 7: 1.086; 8: 2.7888
Total Protein = |  | 2: 10.109; 3: 16.69; 4: 8.589; 5: 17.473; 6: 17.016; 7: 16.455; 8: 77.4571
NH2 Conc. (mM) =
Multiply by Proline & divide by Lysine, Histidine and Arginine =
Proline Constant = | 2
Lysine Constant = | 0.5
Histidine Constant = | 0.2
Arginine Constant = | 0.2
Instructions
Contact Us

## Data Fit
Fit of Standards to Literature Values and Digestibility Score of Samples
| Sample ID | AA (as is) Corrected Ninhydrin Result | Regression Fit Result | Literature Value
2 | Control A |  |  | 83
3 | Control B |  |  | 86
4 | Control C |  |  | 91
5 | Control D |  |  | 84
6 | Control E |  |  | 84
7 | Control F |  |  | 81
8 | Casein |  |  | 100
9
10
11 |  |  |  |  | Slope = | Intercept =
12
13
14
15
16
17
18
19
20
21
22
23
24
Instructions
Contact Us

## Report Sample 9
In-Vitro PDCAAS Analysis
Date
Number | 9
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70oC @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 10
In-Vitro PDCAAS Analysis
Date
Number | 10
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 11
In-Vitro PDCAAS Analysis
Date
Number | 11
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 12
In-Vitro PDCAAS Analysis
Date
Number | 12
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Protein Digestibility Assay (K-PDCAAS)
Instructions
Contact Us

## Report Sample 13
In-Vitro PDCAAS Analysis
Date
Number | 13
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Protein Digestibility Assay (K-PDCAAS)
Instructions
Contact Us

## Report Sample 14
In-Vitro PDCAAS Analysis
Date
Number | 14
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 15
In-Vitro PDCAAS Analysis
Date
Number | 15
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 16
In-Vitro PDCAAS Analysis
Date
Number | 16
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 17
In-Vitro PDCAAS Analysis
Date
Number | 17
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 18
In-Vitro PDCAAS Analysis
Date
Number | 18
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 19
In-Vitro PDCAAS Analysis
Date
Number | 19
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 20
In-Vitro PDCAAS Analysis
Date
Number | 20
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 21
In-Vitro PDCAAS Analysis
Date
Number | 21
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 22
In-Vitro PDCAAS Analysis
Date
Number | 22
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 23
In-Vitro PDCAAS Analysis
Date
Number | 23
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us

## Report Sample 24
In-Vitro PDCAAS Analysis
Date
Number | 24
Sample ID
Description
Amino Acid
|  |  |  | 1991 | Ratio
Reference Protein
| (g/100g sample) | (g/100 g protein) | (mg/g protein) | (mg/g protein)
L-Cysteine + L-Methionine* | 0 | #DIV/0! | #DIV/0! | 25 | #DIV/0!
L-Tryptophan* | 0 | #DIV/0! | #DIV/0! | 11 | #DIV/0!
L-HydroxyProline | 0
L-Aspartic acid | 0
L-Threonine* | 0 | #DIV/0! | #DIV/0! | 34 | #DIV/0!
L-Serine | 0
L-Glutamic Acid | 0
L-Proline | 0
L-Glycine | 0
L-Alanine | 0
L-Valine* | 0 | #DIV/0! | #DIV/0! | 35 | #DIV/0!
L-Isoleucine* | 0 | #DIV/0! | #DIV/0! | 28 | #DIV/0!
L-Leucine* | 0 | #DIV/0! | #DIV/0! | 66 | #DIV/0!
L-Tyrosine + L-Phenylalanine* | 0 | #DIV/0! | #DIV/0! | 63 | #DIV/0!
L-Lysine* | 0 | #DIV/0! | #DIV/0! | 58 | #DIV/0!
L-Histidine* | 0 | #DIV/0! | #DIV/0! | 19 | #DIV/0!
L-Arginine | 0
Total Protein = | 0
*essential amino acid for nutrition
1 limiting amino acid for sample
Percent Sample Moisture (Forced Air Oven 70C @ 16 h)=
Percent Protein by Dumas analysis in the Sample (Fresh Weight Basis) =
| In Vitro Digestibility = |  | #VALUE!
|  | First Limiting Amino Acid = | #DIV/0!
|  | Amino Acid Score = | #DIV/0!
|  | PDCAAS = | #VALUE!
Note: Concentrations of amino acids in the sample are calculated using the molecular weight of each individual amino acid minus the molecular weight of water per the recomendations of FAO/WHO expert committees. The above results are recommended for research and product development use. At this time, it is recommended to use in vivo PDCAAS (with rat digestion) for final product labeling unless animal testing is not allowed by the food manufacturer.
Instructions
Contact Us